## Slide 1: Chapter 38
Regulatory Guidelines for Safety and Quality in the Medical Laboratory

## Slide 2: CLIA ’88
Designed to set safety policies and procedures that protect patients
1967: misread Pap smears caused Congress to become more involved with regulating laboratories (CLIA ’88)
States can seek exemptions if they have regulations comparable

## Slide 3: CLIA ’88
The intention of CLIA ’88
  Protect public by regulating all laboratory tests performed on humans
  Based on complexity of tests performed
  Affects all aspects of the laboratory
  Type of test performed, personnel involved in testing, quality control

## Slide 4: CLIA ’88
General program description
  CLIA is user-fee funded
  More complicated the test, the more stringent the requirements
  CMS charged with implementation of CLIA
  CDC responsible for test categorization and CLIA studies

## Slide 5: CLIA ’88
General program description
  To enroll in CLIA program, laboratories must register
  Since CLIA, total number of quality deficiencies has decreased significantly

## Slide 6: CLIA ’88
Categories of testing
  Waived tests
    Simple, unvarying, require minimum of judgment and interpretation
  Moderate-complexity tests
    Provider performed microscopy: PPM procedures (also called PPMP)
  High-complexity tests

## Slide 7: CLIA ’88
Contents of the law
  List of analytes on the CLIA ’88 waived list
  Criteria for PPMP
  Criteria for CLIA waived tests

## Slide 8: CLIA ’88
CLIA ’88 Regulation for Quality Control in Automated Hematology
  Required procedures
    Calibration
    Control samples
    Proficiency testing
  Check manufacturer’s recommendations for particular piece of equipment

## Slide 9: CLIA ’88
Aftermath of CLIA ’88
  Has led to concerns about overload of paperwork it produces
  Developments regarding postponements and funding problems
  Category of PPMP added as another certificate
  Lower revenue than had been expected

## Slide 10: CLIA ’88
Impact of CLIA on medical assistants
  Law covers all laboratories
  Performing tests and maintaining personnel records
  Documentation by MAs important
  Responsibility of MAs to teach and assist others who may not be trained
  MAs must know and comply with the law and be prepared for a CLIA inspection

## Slide 11: CLIA ’88
Where to find more information regarding CLIA ’88
  Guidelines available from Federal Register and online for a fee

## Slide 12: OSHA Regulations
To ensure employers have safe and healthy work environment for employees
Applies to all workers, not just health care workers
State standards required to be as strict or greater than federal OSHA standards

## Slide 13: OSHA Regulations
Standard for Occupational Exposure to Hazardous Chemicals in the Laboratory
  Employee awareness of risks linked with chemical dangers
  Employee training and identification of hazardous chemicals
  Use of protective equipment

## Slide 14: OSHA Regulations
Chemical Hygiene Plan (CHP)
  Core of OSHA safety standard on hazardous chemicals
  Written plan specifies training and information requirements of standard
  Inventory taken

## Slide 15: OSHA Regulations
Chemical Hygiene Plan (CHP)
  List compiled of all chemicals considered hazardous
  Material Safety Data Sheet (MSDS) manual assembled
  Employer required to provide hazard communication educational program

## Slide 16: OSHA Regulations
Requirements of Chemical Hygiene Plan
  Written plan relevant to safety and health of employees
  Written instructions on use of PPE
  Fume hoods or biohazard hoods checked regularly
  Training sessions must be held for employees

## Slide 17: OSHA Regulations
Requirements of Chemical Hygiene Plan
  Employer’s legal responsibility to provide medical attention
  Employer responsibility for training sessions, manuals current, documentation
  Instruction regarding disposal of hazardous waste
  Written record of safety training

## Slide 18: OSHA Regulations
Importance of chemical standards to medical assistants
  All employees must comply or face penalties
  All employees have right to know and be given information and educated regarding chemical hazards they are exposed to in place of employment

## Slide 19: OSHA Regulations and Students
Students do not fall under the OSHA guidelines but should take precautions
Students may come into contact with harmful chemicals when doing procedures
Student safety laboratory manual should be assembled

## Slide 20: Cumulative Trauma Disorders
Ergonomics is the study of the workplace
Cumulative trauma disorders: injuries involving musculoskeletal or nervous system
Result of long-term, repetitive work actions